## Cover
Valuation of deep geothermal energy projects utilizing subsurface closed-loops
Support tool for a preliminary techno-economic feasibility analysis
October 2022
conim ag has developed this Excel workbook on behalf of the Swiss Federal Office of Energy.
All contents of this Excel workbook is protected and property of the authors.

## Instructions
Instructions
This assessment tool is a working aid for the Swiss Federal Office of Energy and interested stakeholders.
The values, outputs and results are indicative and serve as a basis for discussion when engaging with the Swiss Federal Office of Energy.
The cells marked in yellow are to be filled in.
The Swiss Federal Office has two versions of the workbook: one where formulas and other information is protected; and another version which is completely open.
Owing to the complexity and high degree of expert judgement involved, the authors caution users when working on the open version.
Note: the final worksheets "Summary GeoVision world" and "Cash-Flow Model GeoVision" reflect cost assumptions as described in a US-American (Sandia National Labs) report which maps out a highly optimistic cost reduction path (essentially a 10-fold decrease in well cost) and scenario out to 2050.

## Summary CH
Summary of the project data
This table is generated automatically when data is entered
Project specifics | [6 empty] | Comments
Production |  | Electricity, Heat, CO2 Allowances
Reservoir depth |  | 6000 | m |  |  |  | True Vertical Depth
Maximum temperature of circulating heat exchanger fluid |  | 122.8636 | oC
Length of horizontal lateral |  | 7000 | m
Number of laterals |  | 6
Production or Circulation Rate |  | 51 | kg/s
System capacity (electricity) |  | 1.1314 | MWel
System capacity (heat) |  | 17.2469 | MWth
Capex |  | Total |  |  |  |  | Comments | Benchmark
Total investments geothermal source (subsurface) |  | 422633993.0733 | CHF |  |  |  |  | See sheet Economic parameters - E45:Q96
Total investments power plant (surface) |  | 5525738.8948 | CHF |  |  |  | Vorbereitung und Begleitung der Erstellung des Erfahrungsberichtes 2011 gemäss § 65 EEG (Abb. 11) | 4000000 | CHF per MWel installed power plant capacity
Total investments heat plant (surface) |  | 1000000 | CHF |  |  |  |  | No benchmark
Total |  | 429159731.9681 | CHF
Net Present Value NPV (CHF) |  | 20 years | 25 years | 30 years | 40 years | 50 years
NPV Real (without inflation) |  | -383152722.5942 | -375836732.8665 | -370901883.1505 | -364209810.9817 | -360269716.4347
NPV Nominal (with inflation) |  | -383829220.649 | -374447179.8239 | -367802091.783 | -358121371.8711 | -351825332.714
Specific investment cost
Specific capacity investment for power (CHF/kWel) |  | 317852.0209
Specific capacity investment for heat (CHF/kWth) |  | 3931.5143
Unit Technical Cost UTC (CHF/MWh) |  | 20 years | 25 years | 30 years | 40 years | 50 years
Total UTC | Total UTC Electricity | 3415.6597 | 3659.0415 | 3402.3607 | 3111.9705 | 2965.532
| Total UTC Heat | 86.5653 | 441.7668 | 408.0892 | 369.9888 | 350.7754
Subsurface Unit Technical Cost | Subsurface UTC of Electricity | 2009.9175 | 1624.6007 | 1364.4911 | 1034.2073 | 832.4712
| Subsurface UTC of Heat | 51.3298 | 41.5869 | 34.9903 | 26.5829 | 21.4266

## Technical parameters TEMP
Technical parameters: Temperature
Cells marked in yellow must be filled in.
Auxilliary calculations
Temperature (Kelvin) at tubing head: evolution over time and fluid circulation rate
Temperature estimation - Step 1: Injection to depth |  | Unit | First section of the U-shape (descent) |  |  | 0.019231 | 0.076923 | 0.23077 | 0.5 | 1 | 3 | 10 | 20 | 40 | Time (in years)
Ramey equation 1 |  |  |  |  | 396.0136 | 1 | 4 | 12 | 26 | 52 | 156 | 520 | 1040 | 2080 | weeks
T(z, t) = b + az − aA + [To + aA − b]e(− z/A) | 298.6244 | K | is the estimated fluid temperature at the bottom of the well at true vertical depth (TVD) in the injection leg |  | 1 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 1 kg/s
Where: |  |  |  |  | 2 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 2 kg/s
z = True Vertical Depth | 6000 | m |  |  | 5 | 474 | 474 | 473.9999 | 473.9996 | 473.9988 | 473.996 | 473.9878 | 473.9792 | 473.9664 | 5 kg/s
b = Surface geothermal/rock temperature | 288 | K |  |  | 10 | 473.9943 | 473.953 | 473.8519 | 473.7207 | 473.5488 | 473.1523 | 472.5234 | 472.0646 | 471.5349 | 10 kg/s
a = Geothermal gradient | 0.031 | K/m |  |  | 15 | 473.8214 | 473.2656 | 472.4163 | 471.5792 | 470.6632 | 468.9131 | 466.6281 | 465.1668 | 463.6169 | 15 kg/s
To = Fluid inlet temperature at injection wellhead | 288 | K |  |  | 20 | 472.9928 | 471.0839 | 468.8042 | 466.853 | 464.9044 | 461.515 | 457.5032 | 455.1036 | 452.6648 | 20 kg/s
A = m* Cp,f f(t)/2πkr | 50500.807 |  | Simplified assumption (Ramey equation 2A), where thermal resistance in the wellbore is negligible (e.g., water in liquid phase in geothermal wells without insulated tubing). See main report for details. |  | 30 | 468.2931 | 462.3851 | 456.9149 | 452.8601 | 449.167 | 443.3186 | 437.0461 | 433.5397 | 430.1251 | 30 kg/s
Where |  |  |  |  | 40 | 460.3902 | 450.7925 | 442.9924 | 437.617 | 432.9429 | 425.8799 | 418.6704 | 414.7753 | 411.0627 | 40 kg/s
m* = Total mass flow rate of fluid injected | 51 | kg⋅s− 1 |  |  | 50 | 451.0602 | 438.8309 | 429.6496 | 423.5949 | 418.4751 | 410.953 | 403.5001 | 399.5553 | 395.8434 | 50 kg/s
Cp,f = Fluid specific heat capacity at constant pressure | 4500 | J⋅kg− 1⋅K− 1 |  |  |  | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | 474 | Reservoir
f(t) = see below
kr = Rock thermal conductivity | 4.5 | W⋅m− 1⋅K− 1 | Typical range: 1.3 to 5; in general between 1.8 and 3 (see Clauser, C., and E. Huenges (1995), Thermal conductivity of rocks andminerals, in Rock Physics and Phase Relations: A Handbook of PhysicalConstants, edited by T. J. Ahrens, pp. 105–126, AGU, Washington, D. C. https://doi.org/10.1029/RF003p0105 )
f(t) = − ln(rco/ 2*SQRT[αrt]) − 0.29 | 6.2217 |  | Simplified assumption (Ramey equation 5).At long enough time scales (i.e., typically after a week), f(t) can be estimated assuming an infinite constant heat flux line source.
Where
r_co = Casing/tubing outer diameter | 0.2 | m | For example, the well is cased with 13 3/8 inch casing which has a wall thickness of 12 mm
αr = rock thermal diffusivity | 1.2e-06 | m2 s-1
time | 1560 | Weeks | Pick a snapshot after at least 1-4 weeks after onset of circulation (otherwise you violate assumptions)
t = time in seconds | 943488000 | seconds
Temperature estimation - Step 2: Horizontal well heat extraction |  |  | Second section of the U-shape (horizontal)
Ramey equation 1 |  |  | is the estimated fluid temperature at the end of the horizontal section (and assumed to be the tubing head temperature on surface with insulated production tubing)
T(x, t) = b + ax − aA + [To + aA − b]e(− x/A) | 396.0136 | K
Where:
x = Length of horizontal lateral | 7000 | m
b = Geothermal/rock temperature | 474 | K
a = Geothermal gradient | 0 | K/m | assuming a constant formation temperature along the horizontal section of the well
To = Fluid temperature at the start of the horizontal section | 298.6244 | K
A = m* Cp,f f(t)/2πkr | 8637.7542 |  | Simplified assumption (Ramey equation 2A), where thermal resistance in the wellbore is negligible (e.g., water in liquid phase in geothermal wells without insulated tubing). See main report for details.
Where
m* = Mass flow rate of fluid in one lateral | 8.5 | kg⋅s− 1
Cp,f = Fluid specific heat capacity at constant pressure | 4500 | J⋅kg− 1⋅K− 1
f(t) = see below
kr = Rock thermal conductivity | 4.5 | W⋅m− 1⋅K− 1
f(t) = − ln(rco/ 2*SQRT[αrt]) − 0.29 | 6.385 |  | Simplified assumption (Ramey equation 5).At long enough time scales (i.e., typically after a week), f(t) can be estimated assuming an infinite constant heat flux line source.
Where
r_co = Casing/tubing outer diameter | 0.16986 | m | Assuming a horizontal section that has been cased with an atmost 13 3/8 inch tubular.
αr = rock thermal diffusivity | 1.2e-06 | m2 s-1
time | 1560 | Weeks | Expected temperature after 10 years of operation (for design of surface facilities)
t = time in seconds | 943488000 | seconds
Temperature estimation - Step 3: Production to surface |  |  | Third section of the U-shape (ascent)
Ramey equation 1 |  |  | If there is no insulated production tubing, this is an estimate of fluid temperature at the tubing head of the production liner
T(z, t) = b + az − aA + [To + aA − b]e(− z/A) | 373.2891 | K
Where:
z = True Vertical Depth | 6000 | m | Same depth as step 1
b = Surface geothermal/rock temperature | 288 | K | Same as step 1
a = Geothermal gradient | -0.031 | K/m | Negative (ascent)
To = Fluid inlet temperature at the base of the production tubing at depth | 396.0136 | K
A = m* Cp,f f(t)/2πkr | 50500.807 |  | Simplified assumption (Ramey equation 2A), where thermal resistance in the wellbore is negligible (e.g., water in liquid phase in geothermal wells without insulated tubing). See main report for details.
Where
m* = Mass flow rate of fluid in the well | 51 | kg⋅s− 1
Cp,f = Fluid specific heat capacity at constant pressure | 4500 | J⋅kg− 1⋅K− 1
f(t) = see below
kr = Rock thermal conductivity | 4.5 | W⋅m− 1⋅K− 1
f(t) = − ln(rco/ 2*SQRT[αrt]) − 0.29 | 6.2217 |  | Simplified assumption (Ramey equation 5).At long enough time scales (i.e., typically after a week), f(t) can be estimated assuming an infinite constant heat flux line source.
Where
r_co = Casing/tubing outer diameter | 0.2 | m | Vacuum insulated tubing outer diameter1: for example, the well is completed with VIT of 4.5 inch diameter
αr = rock thermal diffusivity | 1.2e-06 | m2 s-1
time | 1560 | Weeks
t = time in seconds | 943488000 | seconds
1 Rough calculations in this part of the "U-shaped" loop suggest that unless the production well is completed with vacuum (or other) insulated tubing, the heat loss during the ascent of the heat transfer fluid to surface is large and likely to be prohibitive. Hence, it is assumed that the production string is completed with vacuum insulated tubing

## Technical parameters PROD
Technical parameters: Production
Cells marked in yellow must be filled in.
Project specifics |  |  | Comments
Main wellbore drilled to | 6000 | m | TVD
Lateral wellbore of length | 7000 | m
Main bore | 1 |  | assume only one main bore large enough to produce and inject all circulating fluids
Number of laterals | 6 |  | max. 20; if you input zero, then make sure that cell C30 in worksheet 'Technical parameters TEMP is set to zero.
Total mass flow rate of subsurface system | 51 | kg/s
Mass flow rate through one lateral | 8.5 | kg/s | if present
Thermal power of subsurface system | 24.7891 | MWth | after 520 weeks or 10 years of production (see C23 in sheet Tech. Param. TEMP) and in reference to ambient temperature of 288K
Production and sales | Electricity, Heat, CO2 Allowances
Technical assumptions: Power generation (if tubing head temperature of production leg is greater than 90oC)
Surface fluid temperature for power generation | 122.8636 | °C | Only applicable, if electricity is sold
Reject fluid temperature | 90 | °C | = Inlet temperature into heat plant
Ideality factor (heat to power, if electricity is produced) | 55%
Conversion efficiency | 15% |  | 10th year
System capacity | 1.1314 | MWel | 10th year
Decrease in annual performance | 0% | per year | To mimick reservoir and well management performance - this introduces in a purely artificial way a change of the inlet temperature of the power plant and thus lowers the heat available for conversion into electricity - see also row 30)
Technical assumptions: Heat generation (Range: 90oC to reinjection temperature of 35oC)
Inlet temperature heat plant | 90 | °C | If C6 is "Only heat" equals "Technical parameters TEMP" cell C53, converted in °C, otherwise C11
Outlet temperature heat plant | 14.85 | °C | = reinjection temperature (see Technical parameters TEMP C15)
System capacity | 17.2469 | MWth | 10th year
Decrease in annual performance | 0% | per year | To mimick reservoir and well management performance - this introduces in a purely artificial way a change of the inlet temperature of the heat plant and thus lowers the amount of useful heat (see also row 30)
Technical assumptions: Reservoir
Decrease in annual performance | 0 | °C/year | Reservoir-related only - this mimicks in an artificial manner a reservoir decline (handle with care - see also rows 21 and 27)

## Economic parameters
Economic parameters
Cells marked in yellow must be filled in.
Operations |  |  | Comments
Operating hours electricity production | 8000 | Hours/year | If applicable according to Cell C6 sheet Technical parameters PROD
Operating hours heat production | 4000 | Hours/year | If applicable according to Cell C6 sheet Technical parameters PROD
Expected plant lifetime | 30 | Years
Depreciation period | 25 | Years
Opex
Geothermal source (subsurface) | 1% | of Capex | Only Capex geothermal source (underground), per year, is allocated as opex over the entire expected plant lifetime
Power plant (surface) | 1% | of Capex | Only Capex power plant (surface), per year, is allocated as opex over the entire expected plant lifetime
Heat plant (surface) | 1% | of Capex | Only Capex heat plant (surface), per year, is allocated as opex over the entire expected plant lifetime
Annual inflation | 1%
Investment
Capex | 429159731.9681 |  | Total expected investments carried out by the project developer
Total investments geothermal source (subsurface) | 422633993.0733 |  | For electricity and/or heat: total well cost is taken as proxy for total subsurface development cost
Cost reduction due to experience (learning+innovation) on cost of next lateral | 20% |  | See auxilliary calculations
Perfect world (US-type industry activity, successful R&I, GeoVision) | 33036505.9027 |  | See Table 6 in GeoVision Analysis Supporting Task Force Report: Reservoir Maintenance and Development https://www.osti.gov/servlets/purl/1394062 or https://doi.org/10.2172/1394062 ; added in is the impact of experience (learning and innovation)
Specific capacity cost for power plant | 4000000 | per MWel
Total investments power plant (surface) | 5525738.8948 |  | Only electricity, if applicable: Facilities (Hydraulic pipes, pumps ORC etc.), Power plant (ORC, building ORC, electrical lines) etc.
Total investments heat plant (surface) | 1000000 |  | Only heat, if applicable: Facilities (Hydraulic pipes, pumps ORC etc.), Power plant (ORC, building ORC, electrical lines) etc.
Breakdown of Capex geothermal source (subsurface) per year
Year 1 | 33%
Year 2 | 33%
Year 3 | 33%
Breakdown of Capex power plant (surface) per year
Year 1 | 0%
Year 2 | 20%
Year 3 | 80%
Realized price
Electricity (wholesale) | 0.25 | CHF/kWh
Heat (sold to distributor) | 28 | CHF/GJ
Heat | 10.0799 | Rp./kWh
EU - CO2 allowance | 60 | CHF per ton of CO2 offset | Assume heat displaces heating oil (74 tons per TJ)
Financing
Debt (share of borrowed capital to finance the project) | 50% |  | Loan duration equals depreciation period
Tax rate | 20% | of EBT
Interest rate for debt (average) | 3%
WACC, weighted average cost of capital* | 5.44%
*Corresponds to the WACC for support instruments for renewable energies for 2022 as determined by DETEC:
https://www.admin.ch/gov/de/start/dokumentation/medienmitteilungen.msg-id-87407.html
|  |  | Auxilliary Calculations | [11 empty] | Auxilliary Calculations
|  |  |  | Examples of numbers used in CH for drilling deep wells | [10 empty] | GeoVision Report ("digitized" Figure 6 of https://doi.org/10.2172/1394062 ; specifically the large diameter, vertical open hole which is also taken as a proxy for small diameter horizontal liner)
[5 empty] | Depth (AHD or TVD) | Cost |  | Other costs |  |  |  |  | 2022 |  |  |  | Depth (AHD or TVD) | Cost
|  |  | From Report | Riehen | 1500 | 7.5127 | CHF mln | well pad Riehen | 0.5 | CHF mln | in | 1988 | 1.366 | mln |  |  | 1000 | 1 | CHF mln
|  |  | Estimate | Zürich | 3600 | 17 | CHF mln | 2 wells in Riehen planned | 3 | CHF mln | in | 1988 | 8.1957 | mln |  |  | 2000 | 2.25 | CHF mln
|  |  | GEL | Basel | 5000 | 35 | CHF mln | 2 wells in Riehen actual | 5.5 | CHF mln | in | 1988 | 15.0255 | mln |  |  | 3000 | 2.6 | CHF mln
|  |  | PU and MA at Neuchâtel | Paris Basin | 2000 | 6.4 | CHF mln | [9 empty] | 4000 | 3.2 | CHF mln
|  |  | Noville Gas Well 2009/10 | Lac Leman | 4000 | 22 | CHF mln | Info Internet: Gas well 3000 m TVD, 4000 m AHD | [8 empty] | 5000 | 4 | CHF mln
|  |  | Bierenriede (page 69, right hand column 9 5/8 well with contingency) |  | 7500 | 67 | CHF mln | MSc Thesis TU Clausthal | [8 empty] | 6000 | 5 | CHF mln
|  |  | St Gallen / Risikogarantie |  | 4450 | 38 | CHF mln | Internet | [8 empty] | 7000 | 5.5 | CHF mln
|  |  | Haute-Sorne / EnV Explorationsbeitrag |  | 4500 | 46 | CHF mln | Internet
|  |  | Lavey-les-Bains / EnV Explorationsbeitrag |  | 3000 | 28.3333 | CHF mln | Internet
|  |  | Energeo - La Cote / CO2-V Erschliessungsbeitrag |  | 2300 | 24 | CHF mln | Internet
|  |  | Experience curve for additional horizontal legs or horizontal wells drilled from the same drill pad | [11 empty] | Experience curve for additional horizontal legs or horizontal wells drilled from the same drill pad
|  |  | Cost of mainbore (TAML) + 1st lateral |  | 6000 | 117.6944 | [8 empty] | Cost of mainbore (TAML) + 1st lateral |  | 6000 | 9.9214
|  |  | Cost of lateral no 1 of length |  | 7000 | 67.2804 | [8 empty] | Cost of lateral no 1 of length |  | 7000 | 5.1
|  |  | Generic Relationship for Experience curve: | Cn=C_1 n ^(-a) | [10 empty] | Generic Relationship for Experience curve: | Cn=C_1 n ^(-a)
|  |  | Cost of first unit of production | C1 | [10 empty] | Cost of first unit of production | C1
|  |  | Cost of the nth unit of production | Cn | [10 empty] | Cost of the nth unit of production | Cn
|  |  | Cumulative volume of production | n | [10 empty] | Cumulative volume of production | n
|  |  | Elasticity of cost with regard to output | a | [10 empty] | Elasticity of cost with regard to output | a
[5 empty] | See http://dx.doi.org/10.1016/j.enpol.2017.02.027 and also more conceptual https://pangea.stanford.edu/ERE/pdf/IGAstandard/SGW/2017/Latimer.pdf | [11 empty] | See http://dx.doi.org/10.1016/j.enpol.2017.02.027 and also more conceptual https://pangea.stanford.edu/ERE/pdf/IGAstandard/SGW/2017/Latimer.pdf
|  |  | For wells (unconventional gas or pad drilling campaigns): 13%-30% (aspirational) | 20% | And also SPE 15362 and SPE 7119 | [9 empty] | For wells (unconventional gas or pad drilling campaigns): 13%-30% (aspirational) | 20% | And also SPE 15362 and SPE 7119
|  |  | Number of laterals | Cost of nth-lateral | Cumulative cost of additional n laterals from a mainbore | [9 empty] | Number of laterals | Cost of nth-lateral | Cumulative cost of additional n laterals from a mainbore
|  |  | 2 | 58.571 | 58.571 | [9 empty] | 2 | 4.4398 | 4.4398
|  |  | 3 | 54.0088 | 112.5798 | [9 empty] | 3 | 4.094 | 8.5338
|  |  | 4 | 50.989 | 163.5688 | [9 empty] | 4 | 3.8651 | 12.3989
|  |  | 5 | 48.7635 | 212.3322 | [9 empty] | 5 | 3.6964 | 16.0952
|  |  | 6 | 47.0174 | 259.3496 | [9 empty] | 6 | 3.564 | 19.6593
|  |  | 7 | 45.5899 | 304.9395 | [9 empty] | 7 | 3.4558 | 23.1151
|  |  | 8 | 44.3885 | 349.3281 | [9 empty] | 8 | 3.3647 | 26.4798
|  |  | 9 | 43.3551 | 392.6831 | [9 empty] | 9 | 3.2864 | 29.7662
|  |  | 10 | 42.4511 | 435.1342 | [9 empty] | 10 | 3.2179 | 32.9841
|  |  | 11 | 41.6495 | 476.7837 | [9 empty] | 11 | 3.1571 | 36.1412
|  |  | 12 | 40.931 | 517.7147 | [9 empty] | 12 | 3.1027 | 39.2439
|  |  | 13 | 40.281 | 557.9957 | [9 empty] | 13 | 3.0534 | 42.2973
|  |  | 14 | 39.6883 | 597.684 | [9 empty] | 14 | 3.0085 | 45.3057
|  |  | 15 | 39.1445 | 636.8285 | [9 empty] | 15 | 2.9672 | 48.273
|  |  | 16 | 38.6424 | 675.4709 | [9 empty] | 16 | 2.9292 | 51.2022
|  |  | 17 | 38.1767 | 713.6477 | [9 empty] | 17 | 2.8939 | 54.096
|  |  | 18 | 37.7428 | 751.3905 | [9 empty] | 18 | 2.861 | 56.957
|  |  | 19 | 37.3369 | 788.7273 | [9 empty] | 19 | 2.8302 | 59.7872
|  |  | 20 | 36.9558 | 825.6831 | [9 empty] | 20 | 2.8013 | 62.5886

## Cash-Flow Model
Cash-Flow Model
Cells marked in yellow must be filled in.
| Project year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
| Year of operations |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Technical parameters | Temperature at wellhead (°C) |  |  |  | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636
| Inlet temperature power plant (°C) |  |  |  | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636
| Conversion efficiency |  |  |  | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15%
| System Capacity (MWel) |  |  |  | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314
| Inlet temperature heat plant (°C) |  |  |  | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90
| System Capacity (MWth) |  |  |  | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469
Annual Production (MWh) | Produced electricity |  |  |  | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778
| Produced heat |  |  |  | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7
| Heat used for electricity (TJ) |  |  |  | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155
| Annual heat sales (TJ) |  |  |  | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926
| % electricity share of geothermal energy |  |  |  | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99%
| % thermal share |  |  |  | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01%
Income (CHF) | Sales price electricity (CHF/KWh) |  |  |  | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
| Income from electricity |  |  |  | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474
| Sales price heat (CHF/KWh) |  |  |  | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008
| Income from heat |  |  |  | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288
| Sales price CO2 allowance (CHF/ton) |  |  |  | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
| Income from CO2 allowances |  |  |  | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879
| Total Income |  |  |  | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641
Opex (CHF) | Geothermal source (subsurface) |  |  |  | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307 | -4226339.9307
| Discounted |  |  |  | -3605356.6562 | -3419344.3249 | -3242928.988 | -3075615.5045 | -2916934.2797 | -2766439.9466 | -2623710.1163 | -2488344.1922 | -2359962.246 | -2238203.9511 | -2122727.5712 | -2013209.0015 | -1909340.8588 | -1810831.6188 | -1717404.7978 | -1628798.1769 | -1544763.0661 | -1465063.606 | -1389476.1058 | -1317788.416 | -1249799.3323 | -1185318.0314 | -1124163.5351 | -1066164.2025 | -1011157.2482 | -958988.2855 | -909510.8929 | -862586.2034 | -818082.5146 | -775874.919 | -735844.9535 | -697880.267 | -661874.3048 | -627726.0099 | -595339.539 | -564623.9937 | -535493.1655 | -507865.2935 | -481662.8353 | -456812.249 | -433243.787 | -410891.3002 | -389692.0526 | -369586.5445 | -350518.3465 | -332433.9401 | -315282.5684 | -299016.093 | -283588.859 | -268957.5674
| Power plant (surface) |  |  |  | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889
| Discounted |  |  |  | -47138.3273 | -44706.3044 | -42399.7576 | -40212.2132 | -38137.5315 | -36169.8895 | -34303.7647 | -32533.9194 | -30855.3864 | -29263.4545 | -27753.6556 | -26321.7523 | -24963.7256 | -23675.7641 | -22454.2527 | -21295.7632 | -20197.044 | -19155.0114 | -18166.7407 | -17229.4582 | -16340.5332 | -15497.4708 | -14697.9047 | -13939.591 | -13220.4012 | -12538.3167 | -11891.4233 | -11277.9053 | -10696.0407 | -10144.1964 | -9620.8236 | -9124.4533 | -8653.6924 | -8207.2197 | -7783.7819 | -7382.1908 | -7001.319 | -6640.0977 | -6297.513 | -5972.6034 | -5664.4569 | -5372.2088 | -5095.0387 | -4832.1687 | -4582.861 | -4346.416 | -4122.17 | -3909.4935 | -3707.7898 | -3516.4926
| Heat plant (surface) |  |  |  | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000
| Discounted |  |  |  | -8530.6831 | -8090.5568 | -7673.1381 | -7277.2554 | -6901.7976 | -6545.7109 | -6207.9959 | -5887.7048 | -5583.9385 | -5295.8446 | -5022.6144 | -4763.481 | -4517.7172 | -4284.6332 | -4063.5747 | -3853.9214 | -3655.0848 | -3466.5068 | -3287.6582 | -3118.037 | -2957.1671 | -2804.597 | -2659.8985 | -2522.6655 | -2392.5128 | -2269.0751 | -2152.006 | -2040.9769 | -1935.6761 | -1835.8081 | -1741.0927 | -1651.2639 | -1566.0697 | -1485.271 | -1408.6409 | -1335.9645 | -1267.0376 | -1201.6669 | -1139.6689 | -1080.8696 | -1025.104 | -972.2155 | -922.0556 | -874.4837 | -829.3662 | -786.5764 | -745.9943 | -707.506 | -671.0034 | -636.3841
EBITDA (Earnings before interest, taxes, depreciation and amortization) |  | 0 | 0 | 0 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444
| Interest | 0 | 0 | 0 | -6179900.1403 | -5922404.3012 | -5664908.462 | -5407412.6228 | -5149916.7836 | -4892420.9444 | -4634925.1053 | -4377429.2661 | -4119933.4269 | -3862437.5877 | -3604941.7485 | -3347445.9094 | -3089950.0702 | -2832454.231 | -2574958.3918 | -2317462.5526 | -2059966.7134 | -1802470.8743 | -1544975.0351 | -1287479.1959 | -1029983.3567 | -772487.5175 | -514991.6784 | -257495.8392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Depreciation | 0 | 0 | 0 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EBT (Earnings before taxes) | 0 | 0 | 0 | -17318501.5747 | -17061005.7355 | -16803509.8963 | -16546014.0571 | -16288518.218 | -16031022.3788 | -15773526.5396 | -15516030.7004 | -15258534.8612 | -15001039.0221 | -14743543.1829 | -14486047.3437 | -14228551.5045 | -13971055.6653 | -13713559.8261 | -13456063.987 | -13198568.1478 | -12941072.3086 | -12683576.4694 | -12426080.6302 | -12168584.7911 | -11911088.9519 | -11653593.1127 | -11396097.2735 | -11138601.4343 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444 | 6027787.8444
Taxes |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689 | -1205557.5689
| Profit / loss | 0 | 0 | 0 | -17318501.5747 | -17061005.7355 | -16803509.8963 | -16546014.0571 | -16288518.218 | -16031022.3788 | -15773526.5396 | -15516030.7004 | -15258534.8612 | -15001039.0221 | -14743543.1829 | -14486047.3437 | -14228551.5045 | -13971055.6653 | -13713559.8261 | -13456063.987 | -13198568.1478 | -12941072.3086 | -12683576.4694 | -12426080.6302 | -12168584.7911 | -11911088.9519 | -11653593.1127 | -11396097.2735 | -11138601.4343 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755
Operating Cash Flow |  | 0 | 0 | 0 | -152112.296 | 105383.5432 | 362879.3824 | 620375.2216 | 877871.0608 | 1135366.8999 | 1392862.7391 | 1650358.5783 | 1907854.4175 | 2165350.2567 | 2422846.0959 | 2680341.935 | 2937837.7742 | 3195333.6134 | 3452829.4526 | 3710325.2918 | 3967821.1309 | 4225316.9701 | 4482812.8093 | 4740308.6485 | 4997804.4877 | 5255300.3268 | 5512796.166 | 5770292.0052 | 6027787.8444 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755
Capex (CHF) | Geothermal source (underground) | -139469217.7142 | -139469217.7142 | -139469217.7142 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Power plant (surface) | 0 | -1105147.779 | -4420591.1158 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Heat plant (surface) | 0 | -200000 | -800000
Potential subsidies (non repayable)
| Total Capex | -139469217.7142 | -140774365.4931 | -144689808.83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Free Cash Flow (CHF) inkl. Finanzierung Fremdkapital | Real Free Cash Flow | -139469217.7142 | -140774365.4931 | -144689808.83 | -152112.296 | 105383.5432 | 362879.3824 | 620375.2216 | 877871.0608 | 1135366.8999 | 1392862.7391 | 1650358.5783 | 1907854.4175 | 2165350.2567 | 2422846.0959 | 2680341.935 | 2937837.7742 | 3195333.6134 | 3452829.4526 | 3710325.2918 | 3967821.1309 | 4225316.9701 | 4482812.8093 | 4740308.6485 | 4997804.4877 | 5255300.3268 | 5512796.166 | 5770292.0052 | 6027787.8444 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755 | 4822230.2755
| Real Discounted Free Cash Flow | -139469217.7142 | -133511348.1536 | -130144898.2899 | -129762.179 | 85261.1542 | 278442.3609 | 451462.8926 | 605888.8382 | 743178.3523 | 864688.624 | 971682.4133 | 1065334.1828 | 1146735.847 | 1216902.1642 | 1276775.7916 | 1327232.0237 | 1369083.2338 | 1403083.0375 | 1429930.1926 | 1450272.2537 | 1464708.996 | 1473795.6216 | 1478045.7624 | 1477934.2916 | 1473899.956 | 1466347.8395 | 1455651.669 | 1442155.9717 | 1094200.282 | 1037746.8532 | 984206.0444 | 933427.5838 | 885268.9528 | 839594.9856 | 796277.4901 | 755194.8882 | 716231.8742 | 679279.0916 | 644232.8259 | 610994.7135 | 579471.4658 | 549574.6071 | 521220.2268 | 494328.7432 | 468824.6805 | 444636.4573 | 421696.1848 | 399939.4772 | 379305.2705 | 359735.6511 | 341175.6934 | 323573.3056 | 306879.0834
| Nominal Free Cash Flow | -139469217.7142 | -142182109.1481 | -147598073.9875 | -156721.4506 | 109662.5377 | 381389.8779 | 658540.7986 | 941196.5988 | 1229439.661 | 1523353.4647 | 1823022.6005 | 2128532.7836 | 2439970.8682 | 2757424.8612 | 3080983.937 | 3410738.4518 | 3746779.9585 | 4089201.2215 | 4438096.2317 | 4793560.222 | 5155689.6826 | 5524582.3763 | 5900337.3549 | 6283054.9748 | 6672836.9134 | 7069786.1853 | 7474007.1589 | 7885605.5734 | 6371569.3033 | 6435284.9964 | 6499637.8463 | 6564634.2248 | 6630280.567 | 6696583.3727 | 6763549.2064 | 6831184.6985 | 6899496.5455 | 6968491.5109 | 7038176.4261 | 7108558.1903 | 7179643.7722 | 7251440.2099 | 7323954.612 | 7397194.1582 | 7471166.0997 | 7545877.7607 | 7621336.5383 | 7697549.9037 | 7774525.4028 | 7852270.6568 | 7930793.3634 | 8010101.297 | 8090202.31
| Nominal Discounted Free Cash Flow | -139469217.7142 | -134846461.6351 | -132760810.7455 | -133694.1028 | 88723.0989 | 292645.7197 | 479236.9577 | 649594.8428 | 804755.6623 | 945697.2135 | 1073341.8926 | 1188559.6263 | 1292170.6553 | 1384948.1761 | 1467620.8486 | 1540875.176 | 1605357.7631 | 1661677.459 | 1710407.3903 | 1752086.8902 | 1787223.3283 | 1816293.8458 | 1839747.0019 | 1858004.335 | 1871461.8426 | 1880491.3852 | 1885442.0166 | 1886641.2457 | 1445756.9486 | 1384877.1985 | 1326561.0494 | 1270700.5499 | 1217192.2946 | 1165937.2321 | 1116840.4822 | 1069811.1599 | 1024762.2074 | 981610.2329 | 940275.3558 | 900681.0597 | 862754.05 | 826424.1185 | 791624.0133 | 758289.3147 | 726358.3155 | 695771.9069 | 666473.4693 | 638408.767 | 611525.8486 | 585774.9498 | 561108.4022 | 537480.5446 | 514847.6385
| In CHF | 20 years | 25 years | 30 years | 3 1: 40 years; 4 2: 50 years
Net Present Value NPV | NPV Real (without inflation) | -383152722.5942 | -375836732.8665 | -370901883.1505 | 3 1: -364209810.9817; 4 2: -360269716.4347
| NPV Nominal (with inflation) | -383829220.649 | -374447179.8239 | -367802091.783 | 3 1: -358121371.8711; 4 2: -351825332.714
Total Unit Technical Cost (CHF/MWh) | Total UTC of Electricity | 3415.6597 | 3659.0415 | 3402.3607 | 3 1: 3111.9705; 4 2: 2965.532
| Total UTC of Heat | 86.5653 | 441.7668 | 408.0892 | 3 1: 369.9888; 4 2: 350.7754
Subsurface Unit Technical Cost (CHF/MWh) | Subsurface UTC of Electricity | 2009.9175 | 1624.6007 | 1364.4911 | 3 1: 1034.2073; 4 2: 832.4712
| Subsurface UTC of Heat | 51.3298 | 41.5869 | 34.9903 | 3 1: 26.5829; 4 2: 21.4266
| IRR @WACC | n/a | n/a | n/a | 3 1: n/a; 4 2: n/a
| VIR @ WACC | -1.0022

## Summary GeoVision world
Summary of the project data
This table is generated automatically when data is entered
Project specifics | [6 empty] | Comments
Production |  | Electricity, Heat, CO2 Allowances
Reservoir depth |  | 6000 | m |  |  |  | True Vertical Depth
Maximum temperature of circulating heat exchanger fluid |  | 122.8636 | oC
Length of horizontal lateral |  | 7000 | m
Number of laterals |  | 6
Production or Circulation Rate |  | 8.5 | kg/s
System capacity (electricity) |  | 1.1314 | MWel
System capacity (heat) |  | 17.2469 | MWth
Capex |  | Total |  |  |  |  | Comments | Benchmark
Total investments geothermal source (subsurface) |  | 33036505.9027 | CHF |  |  |  |  | See sheet Economic parameters - E45:Q96
Total investments power plant (surface) |  | 5525738.8948 | CHF |  |  |  | Vorbereitung und Begleitung der Erstellung des Erfahrungsberichtes 2011 gemäss § 65 EEG (Abb. 11) | 4000000 | CHF per MWel installed power plant capacity
Total investments heat plant (surface) |  | 1000000 | CHF |  |  |  |  | No benchmark
Total |  | 39562244.7974 | CHF
Net Present Value NPV (CHF) |  | 20 years | 25 years | 30 years | 40 years | 50 years
NPV Real (without inflation) |  | 25078776.7173 | 37590766.1695 | 45715185.7552 | 56732583.5131 | 63219302.086
NPV Nominal (with inflation) |  | 32780778.031 | 48819979.827 | 59760025.9347 | 75697741.3631 | 86063135.8096
Specific investment cost
Specific capacity investment for power (CHF/kWel) |  | 28627.3709
Specific capacity investment for heat (CHF/kWth) |  | 315.8741
Unit Technical Cost UTC (CHF/MWh) |  | 20 years | 25 years | 30 years | 40 years | 50 years
Total Unit Technical Cost (CHF/MWh) | Total UTC of Electricity | 373.2521 | 335.8688 | 312.3218 | 285.6824 | 272.2487
| Total UTC of Heat | 45.1929 | 40.2881 | 37.1986 | 33.7034 | 31.9408
Subsurface Unit Technical Cost (CHF/MWh) | Subsurface UTC of Electricity | 157.1115 | 126.992 | 102.2836 | 80.842 | 65.0727
| Subsurface UTC of Heat | 4.0124 | 3.2508 | 2.7351 | 2.0779 | 1.6749

## Cash-Flow Model GeoVision
Cash-Flow Model
Cells marked in yellow must be filled in.
| Project year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52
| Year of operations |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
Technical parameters | Temperature at wellhead (°C) |  |  |  | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636
| Inlet temperature power plant (°C) |  |  |  | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636 | 122.8636
| Conversion efficiency |  |  |  | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15% | 15%
| System Capacity (MWel) |  |  |  | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314 | 1.1314
| Inlet temperature heat plant (°C) |  |  |  | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90
| System Capacity (MWth) |  |  |  | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469 | 17.2469
Annual Production (MWh) | Produced electricity |  |  |  | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778 | 9051.4778
| Produced heat |  |  |  | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7 | 68987.7
| Heat used for electricity (TJ) |  |  |  | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155 | 217.2155
| Annual heat sales (TJ) |  |  |  | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926 | 41.3926
| %el share of geothermal energy |  |  |  | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99% | 83.99%
| %th share |  |  |  | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01% | 16.01%
Income (CHF) | Sales price electricity (CHF/KWh) |  |  |  | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
| Income from electricity |  |  |  | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474 | 2262869.4474
| Sales price heat (CHF/KWh) |  |  |  | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008 | 0.1008
| Income from heat |  |  |  | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288 | 6953904.5288
| Sales price CO2 allowance (CHF/ton) |  |  |  | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
| Income from CO2 allowances |  |  |  | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879 | 1102611.1879
| Total Income |  |  |  | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641 | 10319385.1641
Opex (CHF) | Geothermal source (subsurface) |  |  |  | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059 | -330365.059
| Discounted |  |  |  | -281823.9621 | -267283.7273 | -253493.6716 | -240415.0907 | -228011.2772 | -216247.4177 | -205090.4948 | -194509.1946 | -184473.8188 | -174956.2015 | -165929.6296 | -157368.7686 | -149249.5909 | -141549.3085 | -134246.3093 | -127320.096 | -120751.2292 | -114521.272 | -108612.739 | -103009.0468 | -97694.4678 | -92654.0855 | -87873.7533 | -83340.0544 | -79040.264 | -74962.3141 | -71094.7592 | -67426.7443 | -63947.9745 | -60648.686 | -57519.6187 | -54551.9905 | -51737.472 | -49068.1639 | -46536.5742 | -44135.5977 | -41858.4956 | -39698.8767 | -37650.6797 | -35708.156 | -33865.8536 | -32118.6016 | -30461.4962 | -28889.8864 | -27399.3612 | -25985.7371 | -24645.0465 | -23373.5267 | -22167.6088 | -21023.9082
| Power plant (surface) |  |  |  | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889 | -55257.3889
| Discounted |  |  |  | -47138.3273 | -44706.3044 | -42399.7576 | -40212.2132 | -38137.5315 | -36169.8895 | -34303.7647 | -32533.9194 | -30855.3864 | -29263.4545 | -27753.6556 | -26321.7523 | -24963.7256 | -23675.7641 | -22454.2527 | -21295.7632 | -20197.044 | -19155.0114 | -18166.7407 | -17229.4582 | -16340.5332 | -15497.4708 | -14697.9047 | -13939.591 | -13220.4012 | -12538.3167 | -11891.4233 | -11277.9053 | -10696.0407 | -10144.1964 | -9620.8236 | -9124.4533 | -8653.6924 | -8207.2197 | -7783.7819 | -7382.1908 | -7001.319 | -6640.0977 | -6297.513 | -5972.6034 | -5664.4569 | -5372.2088 | -5095.0387 | -4832.1687 | -4582.861 | -4346.416 | -4122.17 | -3909.4935 | -3707.7898 | -3516.4926
| Heat plant (surface) |  |  |  | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000 | -10000
| Discounted |  |  |  | -8530.6831 | -8090.5568 | -7673.1381 | -7277.2554 | -6901.7976 | -6545.7109 | -6207.9959 | -5887.7048 | -5583.9385 | -5295.8446 | -5022.6144 | -4763.481 | -4517.7172 | -4284.6332 | -4063.5747 | -3853.9214 | -3655.0848 | -3466.5068 | -3287.6582 | -3118.037 | -2957.1671 | -2804.597 | -2659.8985 | -2522.6655 | -2392.5128 | -2269.0751 | -2152.006 | -2040.9769 | -1935.6761 | -1835.8081 | -1741.0927 | -1651.2639 | -1566.0697 | -1485.271 | -1408.6409 | -1335.9645 | -1267.0376 | -1201.6669 | -1139.6689 | -1080.8696 | -1025.104 | -972.2155 | -922.0556 | -874.4837 | -829.3662 | -786.5764 | -745.9943 | -707.506 | -671.0034 | -636.3841
EBITDA |  | 0 | 0 | 0 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161
| Interest | 0 | 0 | 0 | -6179900.1403 | -5922404.3012 | -5664908.462 | -5407412.6228 | -5149916.7836 | -4892420.9444 | -4634925.1053 | -4377429.2661 | -4119933.4269 | -3862437.5877 | -3604941.7485 | -3347445.9094 | -3089950.0702 | -2832454.231 | -2574958.3918 | -2317462.5526 | -2059966.7134 | -1802470.8743 | -1544975.0351 | -1287479.1959 | -1029983.3567 | -772487.5175 | -514991.6784 | -257495.8392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Depreciation | 0 | 0 | 0 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | -17166389.2787 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EBT | 0 | 0 | 0 | -13422526.703 | -13165030.8638 | -12907535.0246 | -12650039.1854 | -12392543.3462 | -12135047.5071 | -11877551.6679 | -11620055.8287 | -11362559.9895 | -11105064.1503 | -10847568.3112 | -10590072.472 | -10332576.6328 | -10075080.7936 | -9817584.9544 | -9560089.1153 | -9302593.2761 | -9045097.4369 | -8787601.5977 | -8530105.7585 | -8272609.9194 | -8015114.0802 | -7757618.241 | -7500122.4018 | -7242626.5626 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161 | 9923762.7161
Taxes |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432 | -1984752.5432
| Profit / loss | 0 | 0 | 0 | -13422526.703 | -13165030.8638 | -12907535.0246 | -12650039.1854 | -12392543.3462 | -12135047.5071 | -11877551.6679 | -11620055.8287 | -11362559.9895 | -11105064.1503 | -10847568.3112 | -10590072.472 | -10332576.6328 | -10075080.7936 | -9817584.9544 | -9560089.1153 | -9302593.2761 | -9045097.4369 | -8787601.5977 | -8530105.7585 | -8272609.9194 | -8015114.0802 | -7757618.241 | -7500122.4018 | -7242626.5626 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729
Operating Cash Flow |  | 0 | 0 | 0 | 3743862.5758 | 4001358.4149 | 4258854.2541 | 4516350.0933 | 4773845.9325 | 5031341.7717 | 5288837.6108 | 5546333.45 | 5803829.2892 | 6061325.1284 | 6318820.9676 | 6576316.8067 | 6833812.6459 | 7091308.4851 | 7348804.3243 | 7606300.1635 | 7863796.0026 | 8121291.8418 | 8378787.681 | 8636283.5202 | 8893779.3594 | 9151275.1985 | 9408771.0377 | 9666266.8769 | 9923762.7161 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729
Capex (CHF) | Geothermal source (underground) | -10902046.9479 | -10902046.9479 | -10902046.9479 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Power plant (surface) | 0 | -1105147.779 | -4420591.1158 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Heat plant (surface) | 0 | -200000 | -800000
Potential subsidies (non repayable)
| Total Capex | -10902046.9479 | -12207194.7268 | -16122638.0637 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Free Cash Flow (CHF) inkl. Finanzierung Fremdkapital | Real Free Cash Flow | -10902046.9479 | -12207194.7268 | -16122638.0637 | 3743862.5758 | 4001358.4149 | 4258854.2541 | 4516350.0933 | 4773845.9325 | 5031341.7717 | 5288837.6108 | 5546333.45 | 5803829.2892 | 6061325.1284 | 6318820.9676 | 6576316.8067 | 6833812.6459 | 7091308.4851 | 7348804.3243 | 7606300.1635 | 7863796.0026 | 8121291.8418 | 8378787.681 | 8636283.5202 | 8893779.3594 | 9151275.1985 | 9408771.0377 | 9666266.8769 | 9923762.7161 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729 | 7939010.1729
| Real Discounted Free Cash Flow | -10902046.9479 | -11577384.9837 | -14501913.493 | 3193770.5151 | 3237321.7518 | 3267877.6773 | 3286663.3064 | 3294811.8407 | 3293370.8813 | 3283308.2455 | 3265517.411 | 3240822.61 | 3209983.5966 | 3173700.1058 | 3132616.0246 | 3087323.2916 | 3038365.5441 | 2986241.5261 | 2931408.2735 | 2874284.0906 | 2815251.33 | 2754658.9885 | 2692825.1316 | 2630039.1562 | 2566563.9019 | 2502637.6212 | 2438475.8171 | 2374272.9558 | 1801421.059 | 1708479.7601 | 1620333.6116 | 1536735.2159 | 1457449.9392 | 1382255.2534 | 1310940.1113 | 1243304.3545 | 1179158.151 | 1118321.4634 | 1060623.5427 | 1005902.4495 | 954004.5993 | 904784.3316 | 858103.5012 | 813831.0899 | 771842.8394 | 732020.9023 | 694253.5113 | 658434.6655 | 624463.833 | 592245.6686 | 561689.7464 | 532710.3058 | 505226.0108
| Nominal Free Cash Flow | -10902046.9479 | -12329266.6741 | -16446703.0888 | 3857305.3557 | 4163829.612 | 4476098.623 | 4794196.6312 | 5118208.9897 | 5448222.1757 | 5784323.8046 | 6126602.6438 | 6475148.6274 | 6830052.8704 | 7191407.6834 | 7559306.5874 | 7933844.3287 | 8315116.8942 | 8703221.5265 | 9098256.7398 | 9500322.3353 | 9909519.4169 | 10325950.408 | 10749719.0669 | 11180930.5039 | 11619691.1978 | 12066109.0126 | 12520293.2145 | 12982354.4895 | 10489742.4275 | 10594639.8518 | 10700586.2503 | 10807592.1128 | 10915668.034 | 11024824.7143 | 11135072.9614 | 11246423.6911 | 11358887.928 | 11472476.8072 | 11587201.5753 | 11703073.5911 | 11820104.327 | 11938305.3702 | 12057688.424 | 12178265.3082 | 12300047.9613 | 12423048.4409 | 12547278.9253 | 12672751.7145 | 12799479.2317 | 12927474.024 | 13056748.7643 | 13187316.2519 | 13319189.4144
| Nominal Discounted Free Cash Flow | -10902046.9479 | -11693158.8336 | -14793401.9542 | 3290544.9554 | 3368769.9965 | 3434572.2813 | 3488859.328 | 3532484.2529 | 3566248.7429 | 3590905.8738 | 3607162.7831 | 3615683.2031 | 3617089.863 | 3611966.7646 | 3600861.3402 | 3584286.4968 | 3562722.5525 | 3536619.0725 | 3506396.6065 | 3472448.336 | 3435141.6328 | 3394819.5358 | 3351802.1488 | 3306387.9639 | 3258855.1139 | 3209462.5574 | 3158451.2009 | 3106044.9599 | 2380201.3729 | 2279972.8629 | 2183964.9009 | 2091999.7628 | 2003907.2083 | 1919524.1658 | 1838694.4304 | 1761268.3751 | 1687102.6734 | 1616060.0343 | 1548008.9479 | 1482823.4421 | 1420382.8495 | 1360571.5838 | 1303278.9261 | 1248398.8196 | 1195829.6735 | 1145474.1751 | 1097239.1093 | 1051035.1863 | 1006776.8761 | 964382.2504 | 923772.8309 | 884873.4439 | 847612.0811
| In CHF | 20 years | 25 years | 30 years | 3 1: 40 years; 4 2: 50 years
Net Present Value NPV | NPV Real (without inflation) | 25078776.7173 | 37590766.1695 | 45715185.7552 | 3 1: 56732583.5131; 4 2: 63219302.086
| NPV Nominal (with inflation) | 32780778.031 | 48819979.827 | 59760025.9347 | 3 1: 75697741.3631; 4 2: 86063135.8096
Total Unit Technical Cost (CHF/MWh) | Total UTC of Electricity | 373.2521 | 335.8688 | 312.3218 | 3 1: 285.6824; 4 2: 272.2487
| Total UTC of Heat | 45.1929 | 40.2881 | 37.1986 | 3 1: 33.7034; 4 2: 31.9408
Subsurface Unit Technical Cost (CHF/MWh) | Subsurface UTC of Electricity | 157.1115 | 126.992 | 102.2836 | 3 1: 80.842; 4 2: 65.0727
| Subsurface UTC of Heat | 4.0124 | 3.2508 | 2.7351 | 3 1: 2.0779; 4 2: 1.6749
| IRR @ WACC | 5.155% | 6.12% | 6.495% | 3 1: 6.779%; 4 2: 6.858%
| VIR @ WACC | 0.71504 |  | 1.3034